INVESTIGATIONAL NEW DEVICE (IDE) EXEMPTION CHECKIST

When research is conducted to determine the safety or effectiveness of a device and the study does not have an IDE issued by the FDA, one of the following must be true:

- The use of the device in the study fulfills one of the IDE exemption categories (see I. below).

- The use of the device in the study fulfills the requirements for an abbreviated IDE (see II. below).

To assess whether one of the required conditions is met, answer the following questions:

- Does the device fulfill one of the IDE exemption categories (21 CFR 812.2(c))?

(For this condition to be met, all parts of one of the bulleted items below must be answered “Yes”.)

| CRITERION | Y | N |
| --- | --- | --- |
| The device, other than a transitional device, was in commercial distribution immediately before May 28, 1976, and will be used or investigated in accordance with the indications in labeling in effect at that time. | ☐ | ☐ |
| The device, other than a transitional device, was introduced into commercial distribution on or after May 28, 1976, the FDA determined the device to be substantially equivalent to a device in commercial distribution immediately before May 28, 1976, and the device will be used or investigated in accordance with the indications in the labeling FDA reviewed under subpart E of part 807 in determining substantial equivalence. | ☐ | ☐ |
| The device is a diagnostic device, and the sponsor complies with applicable requirements in 21 CFR 809.10(c) (To be met, all of the following must be “Yes”): - Is non-invasive - Does not require an invasive sampling procedure that presents significant risk - Does not introduce energy into a subject - Will not be used as a diagnostic procedure without confirmation of the diagnosis by - another medically-established diagnostic product or procedure | ☐ | ☐ |
| The device is undergoing consumer preference testing, testing of a modification, or testing of a combination of two or more devices in commercial distribution, and the testing is not for the purpose of determining safety or effectiveness and does not put participants at risk. | ☐ | ☐ |
| The device is intended solely for veterinary use. | ☐ | ☐ |
| The device is shipped solely for research on or with laboratory animals and labeled in accordance with 21 CFR 812.5(c). | ☐ | ☐ |
| - The device is a custom device* as defined in 21 CFR 812.3(b), unless the device is being used to determine safety or effectiveness for commercial distribution | ☐ | ☐ |

* Note - a “custom device” means a device that:

(1) Necessarily deviates from devices generally available or from an applicable performance standard or premarket approval requirement in order to comply with the order of an individual physician or dentist;

(2) Is not generally available to, or generally used by, other physicians or dentists;

(3) Is not generally available in finished form for purchase or for dispensing upon prescription;

(4) Is not offered for commercial distribution through labeling or advertising; and

(5) Is intended for use by an individual patient named in the order of a physician or dentist, and is to be made in a specific form for that patient, or is intended to meet the special needs of the physician or dentist in the course of professional practice.

- Does the device fulfill the requirements for an abbreviated IDE (21 CFR 812.2(b)(1))?

The FDA considers an investigation of a non-significant risk device to have an abbreviated IDE when the IRB concurs with the non-significant risk determination and approves the study. The sponsor must also comply with the abbreviated IDE requirements under 21CFR812.2b.

(For this condition to be met, all applicable findings below must be “Yes”.)

| CRITERION | Y | N |
| --- | --- | --- |
| The device is not a banned device. | ☐ | ☐ |
| The sponsor labeled the device in accordance with 21 CFR 812.5. | ☐ | ☐ |
| The sponsor will obtain IRB approval of the investigation after presenting the convened IRB with a brief explanation of why the device, as used in the research study, is not a significant risk device, and maintains such approval. | ☐ | ☐ |
| - The sponsor will ensure that each investigator participating in an investigation of the device obtains from each subject under the investigator’s care consent under 21 CFR 50 and documents it, unless documentation is waived. | ☐ | ☐ |
| - The sponsor will comply with the requirements of 21 CFR 812.46 with respect to monitoring investigations; | ☐ | ☐ |
| - The sponsor will maintain the records required under 21 CFR 812.140(b)(4) and (5) and make the reports required under 21 CFR 812.150(b) (1) through (3) and (5) through (10); | ☐ | ☐ |
| - The sponsor will ensure that participating investigators will maintain the records required by 21 CFR 812.140(a)(3)(i) and make the reports required under - 812.150(a) (1), (2), (5), and (7); and | ☐ | ☐ |
| - The sponsor will comply with the prohibitions in 21 CFR 812.7 against promotion and other practices. | ☐ | ☐ |